## Slide 1
Electrometer
Pulsed OPO 3-6 ns, 1 kHz rep. rate
210 nm – 2600 nm
Wavemeter
High resolution spectrometer
Variable attenuator
Shutter
Monitor photodiode
Diffuser
Brewer
Liquid light guide
Entrance port
Control PC laser setup
Control PC Brewer
RS-232
Wedged window
Setup for bandpass and wavelength characterisation of Brewer at PTB